## Slide 1: Data Integrity Summary of Dillman/Bryn Lectures

## Slide 2: Objectives
Describe Global perspective of Data Integrity
Review Data Integrity and Computer System Validation
Review Data Integrity Auditing

## Slide 3: Data Integrity and GXP
Goal of GXPs – to ensure safety, efficacy and quality of medical products throughout product lifecycle
Global challenges have led to increased harmonization of GXPs and related guidance/ guidelines
Confirmation of GXP compliance relies on Data Integrity
Francesco Amorosi, PhD, Oct 2017

## Slide 4: Data Integrity
All data generated and maintained with integrity
Ensure accuracy
Ensure reliability
Ensure authenticity
Ensure data is complete, consistent, accurate
Data used to make critical decisions
  certain raw data
  summaries
  electronic or paper
ALCOA +

## Slide 5: Poor Data Integrity?
Can undermine quality, safety and efficacy
Can lead to harm or death
Means data is unreliable
Objective evidence suggests data is incorrect
Infers raw data problem
Summaries wrong
Systems that produced the data not validated

## Slide 6: Global Regulatory Response to Lack of Data Integrity

## Slide 7: 21 CFR Part 11
Enacted in 1997
Covers electronic signature, electronic records
Emphasizes risk based approach
Validation required only if the data is critical
See FDA guidance on Software Validation
Careful of changes and change control issues

## Slide 8: Analytical Instruments
Software for control
Data acquisition
Data processing
Change control

## Slide 9: Who Does Computer System Validation?
OpenLab CDS
Manufacturer
Provider/Vendor
Software Firm
CSV is the responsibility of the manufacturer
of the medical product!

## Slide 10: Focus of Audits
Highest Risk Systems
How raw data is defined
How does data flow
Is there a data audit trail
SOPs that cover the data handling
Data governance

## Slide 11: Advantages of Data Integrity
Increases reliability
Increases chances of success
Can reduce long term costs by avoiding recalls, etc.
Required for drug approvals
Increases public health and safety

## Slide 12: Recap/Review
Global perspective of Data Integrity
Data Integrity and Computer System Validation
Data Integrity Auditing

## Slide 13
Contact Information
Monica Koenig Caphart monicaekc@gmail.com